Industrial Supply Company, Inc.

98 Riverwalk Blvd.

Ridgeland, SC  29936

843-379-7005

843-379-7004-Fax

www.roscoindustrialsupply.com

Cummins   C60D6 60KW DIESEL GENERATOR

120/208  3Ph

A322-2 PACKING-SKID,POLY B

A331-2 DUTY RATING-STANDBY

A333-2 BATTERY CHARGING AL

A366-2 ENGGOV-ELECTR,ISOCH

A422-2 ENGINE STARTER-12VD

B240-2 EXCITER/REG-TORQUE

BB88-2 ALT-60HZ,RECONNECT,

BB89-2 BATTERY CHARGER - 6

C127-2 SEPARATOR-FUEL/WATE

C319-2 FUEL TANK-BASIC, 2

C60 D6C GENSET-DIESEL, 60H

D041-2 ENGINE AIR CLEANER

E089-2 EXTENSION-COOLANT D

E125-2 ENGINE COOLING-HIGH

E153-2 COOLANT HEATER, COL

F179-2 SKIDBASE-HOUSING RE

F216-2 ENCLOSURE-ALUMINUM,

F252-2 ENCLOSURE - WIND LO

F253-2 RACK, LARGER BATTER

H012-2 GAUGE-OIL PRESSURE

H268-2 EXTENSION-OIL DRAIN

H536-2 DISPLAY LANGUAGE-EN

H609-2 CONTROL MTG-LEFT FA

H669-2 FEATURE,ENGINE COOL

H700-2 GENSET CONTROL-POWE

H706-2 FEATURE ENGINE OIL

K796-2 STOP SWITCH-EMERGEN

KV03-2 LOAD CONNECTION-SIN

KX26-2 CB,LOC A,70A-250A,3

L028-2 GENSET WARRANTY- BA

L050-2 LITERATURE-ENGLISH

L090-2 LISTING-UL 2200

L169-2 EMISSIONS CERTIFICA

L193-2 NFPA 110 TYPE 10 LE

P176-2 ENCLOSURECOLOR-GREE

R098-2 VOLTAGE-120/208,3 P

SPEC-B PRODUCT REVISION-B