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Cummins   C60D6 60KW DIESEL GENERATOR
120/208  3Ph

A322-2 PACKING-SKID,POLY B
A331-2 DUTY RATING-STANDBY                
A333-2 BATTERY CHARGING AL
A366-2 ENGGOV-ELECTR,ISOCH                
A422-2 ENGINE STARTER-12VD                
B240-2 EXCITER/REG-TORQUE                
BB88-2 ALT-60HZ,RECONNECT,                
BB89-2 BATTERY CHARGER - 6                
C127-2 SEPARATOR-FUEL/WATE                
C319-2 FUEL TANK-BASIC, 2                
C60 D6C GENSET-DIESEL, 60H                
D041-2 ENGINE AIR CLEANER                
E089-2 EXTENSION-COOLANT D                
E125-2 ENGINE COOLING-HIGH                
E153-2 COOLANT HEATER, COL                
F179-2 SKIDBASE-HOUSING RE                
F216-2 ENCLOSURE-ALUMINUM,                
F252-2 ENCLOSURE - WIND LO                
F253-2 RACK, LARGER BATTER                
H012-2 GAUGE-OIL PRESSURE                
H268-2 EXTENSION-OIL DRAIN                
H536-2 DISPLAY LANGUAGE-EN                
H609-2 CONTROL MTG-LEFT FA                
H669-2 FEATURE,ENGINE COOL
H700-2 GENSET CONTROL-POWE                
H706-2 FEATURE ENGINE OIL                
K796-2 STOP SWITCH-EMERGEN                
KV03-2 LOAD CONNECTION-SIN                
KX26-2 CB,LOC A,70A-250A,3                


L028-2 GENSET WARRANTY- BA                
L050-2 LITERATURE-ENGLISH                
L090-2 LISTING-UL 2200                
L169-2 EMISSIONS CERTIFICA                
L193-2 NFPA 110 TYPE 10 LE                
P176-2 ENCLOSURECOLOR-GREE                
R098-2 VOLTAGE-120/208,3 P                
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