RG02724ANAX

· KW: 27 KW
· CONDITION: NEW
· MANUFACTURER: GENERAC
· FUEL TYPE: NATURAL GAS/LIQUID PROPANE
· VOLTAGE: 120/240
· PHASE: 1 PH
· WARRANTY: 5 YEAR FACTORY WARRANTY 


